## Slide 1: Head Loss in storm water systems Check valves
Webinar
Notes: Head loss
Gravity systems vs. Pump

## Slide 2
 | f : Friction factor [-] L: Length [m] D: Diameter [m] V: Velocity [m/s] KL: Loss coefficient [-] g: Gravity [m/s2]
 | f : Friction factor [-] L: Length [m] D: Diameter [m] V: Velocity [m/s] KL: Loss coefficient [-] g: Gravity [m/s2]
Notes: Head loss is divided into two subcategories. Major and minor losses
Factors affecting the Head Loss for a pipe
K – factor

## Slide 4
Notes: Reference points, opening pressure.
Opening pressure
Since the WaStop is closed by default it operates with certain opening- and closing pressures. The difference between opening and closing pressure creates a pulsating effect, by rapidly changing the fluid velocity in the pipe it self-cleanses both the valve itself and the system.
Both opening pressure and head loss is both defined as 𝛥ℎ in fig.1. The difference being that the opening pressure refers to when there is no flow through the valve, and head loss is the pressure loss when there is a flow through the valve.

## Slide 5
Notes: Guess which one has the highest head loss

## Slide 6
Assumptions
Concrete DN600 /NPS 24’’ pipe
Sharp inlet KL = 0.5
Outlet without WaStop KL = 1
L=100m /330 ft.
Notes: Case

## Slide 7
Notes: Difference is the additional head loss

## Slide 8
Notes: A video of a 60’’ valve being tested, we wanted to go higher flow but was starting to empty the lake upstream .

## Slide 9
Notes: Results utah tests.
Head loss outlet without wastop kl=1

## Slide 13: Comparing Test Data
“Tests were run with the flap disc removed from the valve and then with the flap disc in place. The difference in the head loss was therefore the result of the disc.”
Notes: http://www.penntroy.com/valve-products/troy-valve/flap-valves/standard-flap-valves/page.aspx?id=1349

## Slide 14
High head loss in gravity driven systems = high surface elevation upstream.
Be aware when comparing head loss data if the test procedure is not presented, since it is easy to alter reference points and the procedure to make head loss appear low.

## Slide 15
www.wapro.com